Fraser Broth Base

| Product No. | Product Category | Specification |
| --- | --- | --- |
| HCM023 | Dehydrated Culture Medium | 500g /bottle |

Intended Use

For selective enrichment culture of Listeria monocytogenes in food.

Principle and Interpretation

Tryptone, proteose peptone, meat extract, yeast paste powder provide nitrogen sources, vitamins, amino acids, and growth factors; sodium chloride can maintain a balanced osmotic pressure; sodium dihydrogen phosphate and potassium dihydrogen phosphate as buffering agents; esculin are fermentable sugars; lithium chloride and other antibiotics can inhibit Gram negative bacteria and most Gram positive bacteria.

Formulation

| Ingredients | /liter |
| --- | --- |
| Enzymatic digest of animal tissues ( Proteose peptone) | 5.0g |
| Enzymatic digest of casein ( Tryptone) | 5.0g |
| Meat extract | 5.0g |
| Yeast extract | 5.0g |
| Sodium chloride | 20.0g |
| Disodium hydrogen phosphate dihydrate | 12.0g |
| Potassium dihydrogen phosphate | 1.35g |
| Aesculin | 1.0g |
| Lithium chloride | 3.0g |
| pH7.2±0.2 at 25°C |  |

Preparation

Suspend 57.4g in 1 L of distilled or deionized water. Heat with frequent agitation and boil to completely dissolve the powder. Distribute into flasks. Autoclave at 121℃ for 15 minutes. Cool to 45-50℃,aseptically add the contents of 1 vial of Fraser Selective Supplement (SR0120) to each 225 mL of base to prepare FB1 solution; Add one reagent (SR0130) to each100 mL of FB2 culture medium to prepare FB2 enrichment solution.

Quality Control

Cultural characteristics observed after incubation at 35-37°C for 46~50 hours

| Quality control strains | Growth | Characteristics |
| --- | --- | --- |
| Listeria monocytogenes ATCC19115 + Escherichia coli ATCC25922 + Enterococcus faecalis ATCC29212 | >20 cfu On PALCAM | Gray to black colony count with black halo |
| Escherichia coli ATCC25922 | < 100 colonies on TSA | Inhibition |
| Enterococcus faecalis ATCC29212 |  |  |

Storage and Shelf Life

2-30℃，Keep container tightly closed, avoid direct sunlight.

Use before expiry date on the label.

Precautions

1. When weighing the dehydrated medium, please wear masks to avoid causing respiratory system discomfort

2. Keep container tightly closed after using to prevent clumping.

Waste Disposal

Microbiological contamination was disposed by autoclaving at 121°C for 30 minutes.

Revision

On June 14, 2024

References

ISO 11290