PALCAM Agar Base

| Product No. | Product Category | Specification |
| --- | --- | --- |
| HCM066 | Dehydrated Culture Medium | 500g/bottle |
| 026070 | Dehydrated Culture Medium | 250g/bottle |

Intended Use

For the selective isolation and culture of Listeria monocytogenes.

Principle and Interpretation

Peptone provides the carbon and nitrogen sources necessary for growth; yeast extract powder and starch provide carbon and nitrogen sources, vitamins and growth factors; sodium chloride can maintain a balanced osmotic pressure; glucose provides a carbon source; Listeria hydrolyzes esculin and reacts with iron ions to form black 6,7-dihydroxycoumarin; mannitol is a fermentable sugar, and phenol red is a pH indicator; lithium chloride and other antibiotics can inhibit Gram-negative bacteria and most Gram-positive bacteria; agar is the coagulant of the culture medium.

Formulation

| Ingredients | /liter |
| --- | --- |
| Peptone | 23 g |
| Starch | 1 g |
| NaCl | 5 g |
| Columbia agar | 13 g |
| Mannitol | 10 g |
| Ferric ammonium citrate | 0.5 g |
| Esculin (aesculin) | 0.8 g |
| Dextrose (glucose) | 0.5 g |
| Lithium chloride | 15.0 g |
| Phenol red | 0.08 g |
| pH7.2±0.2 at 25°C |  |

Preparation

Weigh 68.9g of dry powder of this product, add 1L of distilled water or deionized water, stir, heat and boil until completely dissolved, divide into Erlenmeyer bottles, sterilize at 121℃ for 15min, cool to room temperature and set aside. Heat to dissolve agar before use, cool to 50℃, add 1 tube of supporting reagent (SR0140) per 100mL of basal culture medium, shake well and pour into sterilized culture dish.

Quality Control

The following quality control strains were inoculated and cultured at 35-37℃ for 24h. The results are as follows:

| Quality control strains | Growth |
| --- | --- |
| Listeria monocytogenes ATCC19115 | Gray-green colonies with a black depression in the center and black surrounding |
| Enterococcus faecalis ATCC29212 | - |
| Escherichia coli ATCC25922 | - |

Storage and Shelf Life

2-30℃，Keep container tightly closed, avoid direct sunlight.

Use before expiry date on the label.

Precautions

1. When weighing the dehydrated medium, please wear masks to avoid causing respiratory system discomfort

2. Keep container tightly closed after using to prevent clumping.

Waste Disposal

Microbiological contamination was disposed by autoclaving at 121°C for 30 minutes.

Revision

On June 14, 2024

References

BAM Media M118a: PALCAM Listeria Selective Agar

Chapter 10: Detection of Listeria monocytogenes in Foods and Environmental Samples, and Enumeration of Listeria monocytogenes in Foods