MacConkey Agar (Without Salt)

| Product No. | Product Category | Specification |
| --- | --- | --- |
| HCM194 | Dehydrated Culture Medium | 500g/bottle |

Intended Use

For the detection and counting of coliform bacteria.

Principle and Interpretation

Peptone provides nitrogen sources, vitamins and growth factors. Bile salts inhibit the growth of Gram-positive bacteria. Lactose provides carbon source. Neutral red was used to detect lactose-positive colonies, and the lactose-positive colonies were red. Agar is a coagulant.

Formulation

| Ingredients | /liter |
| --- | --- |
| Peptone | 20.0g |
| Lactose | 10.0g |
| Bile salts | 5.0g |
| Neutral red | 0.075g |
| Agar | 12.0g |
| pH 7.4±0.2 at 25°C |  |

Preparation

Suspend 47.0g in 1 L distilled or deionized water. Heat with frequent agitation and boil to completely dissolve the powder. Distribute into flasks. Autoclave at 121℃ for 15 minutes.

Quality Control

Cultural characteristics after 24 hours at 35-37°C.

| Quality control strains | Standard value | Characteristic reaction |
| --- | --- | --- |
| Escherichia coli ATCC25922 | PR≥0.7 | GrowGood, red colonies |
| Salmonella typhimurium ATCC14028 |  | GrowGood, colorless colonies |
| Proteus mirabilis ATCC12453 | - | GrowGood, colorless colonies,no swarming |
| Enterococcus faecalisATCC29212 | The first area has a small amount of growth or no growth | - |

Storage and Shelf Life

Keep container tightly closed, store in a cool, dry place, away from bright light.

Use before expiry date on the label.

Precautions

1. When weighing the dehydrated medium, please wear masks to avoid causing respiratory system discomfort

2. Keep container tightly closed after using to prevent clumping.

Waste Disposal

Microbiological contamination was disposed by autoclaving at 121°C for 30 minutes.

Revision

On November 1, 2024

References

1、Greenberg A.E., Trussell R.R., Clesceri L.S. (Eds.), Standard Methods for the Examination of Waterand Wastewater, 16th ed., A.P.H.A, Washington, D.C. (1985).

2、J. MacFaddin, Media for Isolation-Cultivation-Identification-Maintainance of Medical Bacteria, Vol. L, Williams and Wilkins, Baltimore(1985).

3、A. MacConkey, Bile salt media and their advantages in some bacteriological examinations, J. Hyg., 8; 322 (1908).

4、A. MacConkey, J. Hyg. 8, 333 (1905).